{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["reference gene Referenčni geni"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"reference gene Referenčni geni","index":0,"n_rows":38,"n_cols":26,"rows_kept":38,"cut":false,"hidden":false,"merged":[]}
[]
[]
["Data",{"$nulls":16},"Standard curve"]
[]
["Involved","Sample name","Cq value","Average Cq value","Replicates Δ Cq","Relative quantity","log10(Relative quantity)","Slope","Slope difference","Calculated copy no.","CV copy no.","Average copy no.","dilution corrected copy no.","CV dilutions","Quality controled copy no.",null,null,"Involved","Cq value","Relative quantity",null,"Cq","Replicates Δ Cq","Relative quantity","log10(Relative quantity)","Parcial slope"]
["no","HT115::dsGFP",11.54,"/","/",10000,4,-3.1800000000000201,3.2285714285730002E-2,"/","/","/","/",1.4733036763498899,"/",null,null,"yes",11.57,10000,null,11.57,0.13,10000,4,-3.17500000000001]
["no","HT115::dsGFP",11.35,null,null,10000,4,null,null,"/","/",{"$nulls":6},"yes",11.7,10000,null,11.7,null,10000,4]
["yes","HT115::dsGFP",14.03,14.005000000000001,0.05,1000,3,null,null,1769.465299075639,2.5829000203947401,1802.3837863709009,1802.3837863709009,null,1802.3837863709009,null,null,"yes",14.68,1000,null,14.68,0.26,1000,3,-3.3100000000000098]
["yes","HT115::dsGFP",13.98,null,null,1000,3,null,null,1835.302273666163,2.5829000203947401,{"$nulls":6},"yes",14.94,1000,null,14.94,null,1000,3]
["yes","HT115::dsGFP",17.21,17.184999999999999,0.05,100,2,null,null,173.29774452695281,2.5829000203948902,176.52171258356759,1765.2171258356759,null,1765.2171258356759,null,null,"yes",18.2,100,null,18.2,0.16,100,2,-2.81]
["yes","HT115::dsGFP",17.16,null,null,100,2,null,null,179.74568064018251,2.5829000203948902,{"$nulls":6},"yes",18.04,100,null,18.04,null,100,2]
["yes","HT115::dsMesh",11.35,11.38,0.06,10000,4,-3.1625000000000001,1.478571428572E-2,12538.213616140371,3.0993283861630299,12269.32448463975,1226.9324484639751,10.076637026272421,1226.9324484639751,null,null,"yes",20.92,10,null,20.92,0.02,10,1,-3.4400000000000102]
["yes","HT115::dsMesh",11.41,null,null,10000,4,null,null,12000.435353139141,3.0993283861630299,{"$nulls":6},"yes",20.94,10,null,20.94,null,10,1]
["yes","HT115::dsMesh",14.35,14.31,0.08,1000,3,null,null,1400.5625648148739,4.1319233040900896,1442.714513269711,1442.714513269711,null,1442.714513269711,null,null,"yes",24.37,1,null,24.37,0,1,0,"/"]
["yes","HT115::dsMesh",14.27,null,null,1000,3,null,null,1484.866461724547,4.1319233040900896,{"$nulls":6},"no",25.3,1]
["yes","HT115::dsMesh",17.64,17.704999999999998,0.13,100,2,null,null,126.57535636895869,6.7112420900083603,120.84077891056479,1208.407789105647,null,1208.407789105647]
["yes","HT115::dsMesh",17.77,null,null,100,2,null,null,115.10620145217079,6.7112420900083603]
["yes","dsMesh in-vitro",33.909999999999997,33.43,0.95999999999998997,10000,4,-1.9900000000000699,1.15771428571422,8.7035889394999997E-4,47.65910231791122,1.3127599865700001E-3,1.3127599866E-4,53.188084193230679,"/",null,null,"Slope:",-3.1477142857142799]
["yes","dsMesh in-vitro",32.950000000000003,null,null,10000,4,null,null,1.7551610791800001E-3,47.65910231791122,{"$nulls":6},"Inverse slope:",-0.31731105022700001]
["yes","dsMesh in-vitro",35.32,35.42,0.2,1000,3,null,null,3.1066318525E-4,10.31440186642039,2.8954552005999999E-4,2.8954552005999999E-4,null,"/",null,null,"Correlation cofficient (rsq):",0.99880452581451995]
["yes","dsMesh in-vitro",35.520000000000003,null,null,1000,3,null,null,2.6842785486000002E-4,10.31440186642039,{"$nulls":6},"Intercept:",7.69971608480735]
["no","dsMesh in-vitro","Undetermined","/","/",100,2,null,null,"/","/","/","/",null,"/"]
["no","dsMesh in-vitro","Undetermined",null,null,100,2,null,null,"/","/"]
[]
[{"$nulls":17},"Experiment"]
[]
[{"$nulls":17},"Name:","Ecoli_dsRNA_production"]
[]
[{"$nulls":17},"Gene"]
[]
[{"$nulls":17},"Name:","Referenčni geni   16S"]
[{"$nulls":17},"Type:","reference_gene"]
[]
[{"$nulls":17},"Conditions"]
[]
[{"$nulls":17},"Extraction quality control (CtExtC):",25]
[{"$nulls":17},"Slope between:","between(-3.8, -3)"]
[{"$nulls":17},"Slope difference:",0.5]