{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Results"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Results","index":0,"n_rows":208,"n_cols":32,"rows_kept":208,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Block Type","384-Well Block"]
["Calibration Background is expired ","No"]
["Calibration Background performed on ","2017-03-21 09:57:24 AM CET"]
["Calibration CY5 is expired ","No"]
["Calibration CY5 performed on ","2017-02-16 11:04:29 AM CET"]
["Calibration FAM is expired ","No"]
["Calibration FAM performed on ","2017-02-16 10:11:23 AM CET"]
["Calibration HEX is expired ","No"]
["Calibration HEX performed on ","2017-02-16 10:56:30 AM CET"]
["Calibration NED is expired ","Yes"]
["Calibration NED performed on ","2015-10-21 14:08:00 PM CEST"]
["Calibration ROI is expired ","No"]
["Calibration ROI performed on ","2017-02-16 09:24:34 AM CET"]
["Calibration ROX is expired ","No"]
["Calibration ROX performed on ","2017-02-16 10:47:46 AM CET"]
["Calibration SYBR is expired ","No"]
["Calibration SYBR performed on ","2017-02-16 10:38:50 AM CET"]
["Calibration TAMRA is expired ","No"]
["Calibration TAMRA performed on ","2017-02-16 10:30:54 AM CET"]
["Calibration TEX is expired ","No"]
["Calibration TEX performed on ","2017-02-16 11:12:33 AM CET"]
["Calibration Uniformity is expired ","No"]
["Calibration Uniformity performed on ","2017-02-16 09:51:25 AM CET"]
["Calibration VIC is expired ","No"]
["Calibration VIC performed on ","2017-02-16 10:23:19 AM CET"]
["Chemistry","TAQMAN"]
["Experiment Barcode",""]
["Experiment Comments",""]
["Experiment File Name","D:\\Applied Biosystems\\ViiA7 Software v1.2\\experiments\\MarkoP\\2017-04-05 18S_markop.eds"]
["Experiment Name","2017-04-05 18S_markop"]
["Experiment Run End Time","2017-04-05 14:20:02 PM CEST"]
["Experiment Type","Standard Curve"]
["Experiment User Name",""]
["Instrument Name","VijaVaja"]
["Instrument Serial Number","278881480"]
["Instrument Type","ViiA 7"]
["Passive Reference","ROX"]
["Quantification Cycle Method","Ct"]
["Signal Smoothing On","false"]
["Stage/ Cycle where Analysis is performed","Stage 2, Step 2"]
[]
["Well","Well Position","Omit","Sample Name","Target Name","Task","Reporter","Quencher","CT","Ct Mean","Ct SD","Quantity","Quantity Mean","Quantity SD","Automatic Ct Threshold","Ct Threshold","Automatic Baseline","Baseline Start","Baseline End","Comments","Y-Intercept","R(superscript 2)","Slope","Custom1","Custom2","Custom3","Custom4","Custom5","Custom6","HIGHSD","NOAMP","EXPFAIL"]
[1,"A1",false,"","18S","UNKNOWN","VIC","NFQ-MGB",16.44300079345703,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[2,"A2",false,"","18S","UNKNOWN","VIC","NFQ-MGB",16.93400001525879,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[3,"A3",false,"","18S","UNKNOWN","VIC","NFQ-MGB",19.867000579833984,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,16,"","","","","","","","","","","Y","N","N"]
[4,"A4",false,"","18S","UNKNOWN","VIC","NFQ-MGB",20.025999069213867,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,16,"","","","","","","","","","","Y","N","N"]
[5,"A5",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.67199993133545,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,11,"","","","","","","","","","","Y","N","N"]
[6,"A6",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.619000434875488,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[7,"A7",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.32900047302246,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[8,"A8",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.150999069213867,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[9,"A9",false,"","18S","UNKNOWN","VIC","NFQ-MGB",16.48200035095215,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[10,"A10",false,"","18S","UNKNOWN","VIC","NFQ-MGB",16.649999618530273,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[11,"A11",false,"","18S","UNKNOWN","VIC","NFQ-MGB",20.22800064086914,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,16,"","","","","","","","","","","Y","N","N"]
[12,"A12",false,"","18S","UNKNOWN","VIC","NFQ-MGB",20.18899917602539,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[25,"B1",false,"","18S","UNKNOWN","VIC","NFQ-MGB",16.77400016784668,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[26,"B2",false,"","18S","UNKNOWN","VIC","NFQ-MGB",16.85300064086914,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[27,"B3",false,"","18S","UNKNOWN","VIC","NFQ-MGB",20.267000198364258,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,16,"","","","","","","","","","","Y","N","N"]
[28,"B4",false,"","18S","UNKNOWN","VIC","NFQ-MGB",20.19700050354004,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,16,"","","","","","","","","","","Y","N","N"]
[29,"B5",false,"","18S","UNKNOWN","VIC","NFQ-MGB",13.982000350952148,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,9,"","","","","","","","","","","Y","N","N"]
[30,"B6",false,"","18S","UNKNOWN","VIC","NFQ-MGB",13.987000465393066,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,9,"","","","","","","","","","","Y","N","N"]
[31,"B7",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.327999114990234,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[32,"B8",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.371000289916992,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[33,"B9",false,"","18S","UNKNOWN","VIC","NFQ-MGB",15.6850004196167,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,11,"","","","","","","","","","","Y","N","N"]
[34,"B10",false,"","18S","UNKNOWN","VIC","NFQ-MGB",15.946999549865723,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[35,"B11",false,"","18S","UNKNOWN","VIC","NFQ-MGB",19.006999969482422,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[36,"B12",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.989999771118164,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[49,"C1",false,"","18S","UNKNOWN","VIC","NFQ-MGB",13.758000373840332,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,9,"","","","","","","","","","","Y","N","N"]
[50,"C2",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.277999877929688,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[51,"C3",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.34600067138672,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[52,"C4",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.215999603271484,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[53,"C5",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.859000205993652,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[54,"C6",false,"","18S","UNKNOWN","VIC","NFQ-MGB",15.003000259399414,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,11,"","","","","","","","","","","Y","N","N"]
[55,"C7",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.426000595092773,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[56,"C8",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.292999267578125,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[57,"C9",false,"","18S","UNKNOWN","VIC","NFQ-MGB",15.673999786376953,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,11,"","","","","","","","","","","Y","N","N"]
[58,"C10",false,"","18S","UNKNOWN","VIC","NFQ-MGB",15.62399959564209,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,11,"","","","","","","","","","","Y","N","N"]
[59,"C11",false,"","18S","UNKNOWN","VIC","NFQ-MGB",19.149999618530273,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[60,"C12",false,"","18S","UNKNOWN","VIC","NFQ-MGB",19.270000457763672,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[73,"D1",false,"","18S","UNKNOWN","VIC","NFQ-MGB",16.349000930786133,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[74,"D2",false,"","18S","UNKNOWN","VIC","NFQ-MGB",16.393999099731445,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[75,"D3",false,"","18S","UNKNOWN","VIC","NFQ-MGB",19.547000885009766,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[76,"D4",false,"","18S","UNKNOWN","VIC","NFQ-MGB",19.577999114990234,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[77,"D5",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.199000358581543,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[78,"D6",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.201000213623047,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[79,"D7",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.187999725341797,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[80,"D8",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.14299964904785,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[81,"D9",false,"","18S","UNKNOWN","VIC","NFQ-MGB",21.04599952697754,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,16,"","","","","","","","","","","Y","N","N"]
[82,"D10",false,"","18S","UNKNOWN","VIC","NFQ-MGB",20.924999237060547,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,16,"","","","","","","","","","","Y","N","N"]
[83,"D11",false,"","18S","UNKNOWN","VIC","NFQ-MGB",23.809999465942383,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,19,"","","","","","","","","","","Y","N","N"]
[84,"D12",false,"","18S","UNKNOWN","VIC","NFQ-MGB",24.020000457763672,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,20,"","","","","","","","","","","Y","N","N"]
[97,"E1",false,"","18S","UNKNOWN","VIC","NFQ-MGB",13.274999618530273,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,9,"","","","","","","","","","","Y","N","N"]
[98,"E2",false,"","18S","UNKNOWN","VIC","NFQ-MGB",13.41100025177002,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,9,"","","","","","","","","","","Y","N","N"]
[99,"E3",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.121000289916992,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[100,"E4",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.78700065612793,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[101,"E5",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.538999557495117,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[102,"E6",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.451000213623047,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[103,"E7",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.906999588012695,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[104,"E8",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.030000686645508,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[105,"E9",false,"","18S","UNKNOWN","VIC","NFQ-MGB",15.597000122070312,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,11,"","","","","","","","","","","Y","N","N"]
[106,"E10",false,"","18S","UNKNOWN","VIC","NFQ-MGB",15.805999755859375,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[107,"E11",false,"","18S","UNKNOWN","VIC","NFQ-MGB",19.167999267578125,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[108,"E12",false,"","18S","UNKNOWN","VIC","NFQ-MGB",19.14900016784668,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[121,"F1",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.392000198364258,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[122,"F2",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.215999603271484,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[123,"F3",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.10700035095215,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[124,"F4",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.222999572753906,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[125,"F5",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.411999702453613,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[126,"F6",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.284000396728516,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[127,"F7",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.92300033569336,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[128,"F8",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.69700050354004,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[129,"F9",false,"","18S","UNKNOWN","VIC","NFQ-MGB",15.852999687194824,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[130,"F10",false,"","18S","UNKNOWN","VIC","NFQ-MGB",15.980999946594238,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[131,"F11",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.9689998626709,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[132,"F12",false,"","18S","UNKNOWN","VIC","NFQ-MGB",19.06599998474121,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[145,"G1",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.647000312805176,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[146,"G2",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.944999694824219,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[147,"G3",false,"","18S","UNKNOWN","VIC","NFQ-MGB",23.35700035095215,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,19,"","","","","","","","","","","Y","N","N"]
[148,"G4",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.371999740600586,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[149,"G5",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.61299991607666,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[150,"G6",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.708999633789062,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,11,"","","","","","","","","","","Y","N","N"]
[151,"G7",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.308000564575195,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[152,"G8",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.138999938964844,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[153,"G9",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.643999099731445,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[154,"G10",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.886999130249023,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[155,"G11",false,"","18S","UNKNOWN","VIC","NFQ-MGB",20.882999420166016,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,16,"","","","","","","","","","","Y","N","N"]
[156,"G12",false,"","18S","UNKNOWN","VIC","NFQ-MGB",20.871000289916992,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,17,"","","","","","","","","","","Y","N","N"]
[169,"H1",false,"","18S","UNKNOWN","VIC","NFQ-MGB",15.61299991607666,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,11,"","","","","","","","","","","Y","N","N"]
[170,"H2",false,"","18S","UNKNOWN","VIC","NFQ-MGB",15.520999908447266,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,11,"","","","","","","","","","","Y","N","N"]
[171,"H3",false,"","18S","UNKNOWN","VIC","NFQ-MGB",19.243000030517578,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[172,"H4",false,"","18S","UNKNOWN","VIC","NFQ-MGB",19.17099952697754,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[173,"H5",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.454000473022461,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[174,"H6",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.25100040435791,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,9,"","","","","","","","","","","Y","N","N"]
[175,"H7",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.569000244140625,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[176,"H8",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.589000701904297,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[193,"I1",false,"","18S","UNKNOWN","VIC","NFQ-MGB",16.08300018310547,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[194,"I2",false,"","18S","UNKNOWN","VIC","NFQ-MGB",15.932000160217285,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,11,"","","","","","","","","","","Y","N","N"]
[195,"I3",false,"","18S","UNKNOWN","VIC","NFQ-MGB",19.628999710083008,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[196,"I4",false,"","18S","UNKNOWN","VIC","NFQ-MGB",19.384000778198242,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[197,"I5",false,"","18S","UNKNOWN","VIC","NFQ-MGB",13.930000305175781,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[198,"I6",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.274999618530273,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[199,"I7",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.46500015258789,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[200,"I8",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.604999542236328,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[217,"J1",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.817000389099121,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[218,"J2",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.682000160217285,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[219,"J3",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.676000595092773,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[220,"J4",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.71500015258789,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[221,"J5",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.607999801635742,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[222,"J6",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.61400032043457,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[223,"J7",false,"","18S","UNKNOWN","VIC","NFQ-MGB",21.304000854492188,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,17,"","","","","","","","","","","Y","N","N"]
[224,"J8",false,"","18S","UNKNOWN","VIC","NFQ-MGB",21.201000213623047,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,17,"","","","","","","","","","","Y","N","N"]
[241,"K1",false,"","18S","UNKNOWN","VIC","NFQ-MGB",15.362000465393066,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,11,"","","","","","","","","","","Y","N","N"]
[242,"K2",false,"","18S","UNKNOWN","VIC","NFQ-MGB",16.100000381469727,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[243,"K3",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.42099952697754,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[244,"K4",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.374000549316406,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[245,"K5",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.135000228881836,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[246,"K6",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.29400062561035,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[247,"K7",false,"","18S","UNKNOWN","VIC","NFQ-MGB",21.020999908447266,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,17,"","","","","","","","","","","Y","N","N"]
[248,"K8",false,"","18S","UNKNOWN","VIC","NFQ-MGB",21.07200050354004,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,17,"","","","","","","","","","","Y","N","N"]
[265,"L1",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.157999992370605,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[266,"L2",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.20300006866455,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[267,"L3",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.683000564575195,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[268,"L4",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.8439998626709,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[269,"L5",false,"","18S","UNKNOWN","VIC","NFQ-MGB",16.725000381469727,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[270,"L6",false,"","18S","UNKNOWN","VIC","NFQ-MGB",16.533000946044922,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[271,"L7",false,"","18S","UNKNOWN","VIC","NFQ-MGB",20.47800064086914,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,16,"","","","","","","","","","","Y","N","N"]
[272,"L8",false,"","18S","UNKNOWN","VIC","NFQ-MGB",20.476999282836914,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,16,"","","","","","","","","","","Y","N","N"]
[289,"M1",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.35200023651123,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[290,"M2",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.694999694824219,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[291,"M3",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.915000915527344,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[292,"M4",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.041000366210938,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[293,"M5",false,"","18S","UNKNOWN","VIC","NFQ-MGB",19.51300048828125,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[294,"M6",false,"","18S","UNKNOWN","VIC","NFQ-MGB",19.621000289916992,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[295,"M7",false,"","18S","UNKNOWN","VIC","NFQ-MGB",22.770000457763672,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,18,"","","","","","","","","","","Y","N","N"]
[296,"M8",false,"","18S","UNKNOWN","VIC","NFQ-MGB",22.767000198364258,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,18,"","","","","","","","","","","Y","N","N"]
[313,"N1",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.404000282287598,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[314,"N2",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.369999885559082,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[315,"N3",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.9689998626709,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[316,"N4",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.07200050354004,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[317,"N5",false,"","18S","UNKNOWN","VIC","NFQ-MGB",15.656999588012695,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,11,"","","","","","","","","","","Y","N","N"]
[318,"N6",false,"","18S","UNKNOWN","VIC","NFQ-MGB",15.300000190734863,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,11,"","","","","","","","","","","Y","N","N"]
[319,"N7",false,"","18S","UNKNOWN","VIC","NFQ-MGB",19.14299964904785,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[320,"N8",false,"","18S","UNKNOWN","VIC","NFQ-MGB",19.121999740600586,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[335,"N23",false,"","18S","UNKNOWN","VIC","NFQ-MGB","Undetermined",17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,39,"","","","","","","","","","","N","Y","Y"]
[336,"N24",false,"","18S","UNKNOWN","VIC","NFQ-MGB",38.89400100708008,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,34,"","","","","","","","","","","Y","N","N"]
[337,"O1",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.675999641418457,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,11,"","","","","","","","","","","Y","N","N"]
[338,"O2",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.847000122070312,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,11,"","","","","","","","","","","Y","N","N"]
[339,"O3",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.625999450683594,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[340,"O4",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.50200080871582,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[341,"O5",false,"","18S","UNKNOWN","VIC","NFQ-MGB",16.65999984741211,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[342,"O6",false,"","18S","UNKNOWN","VIC","NFQ-MGB",16.67300033569336,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,12,"","","","","","","","","","","Y","N","N"]
[343,"O7",false,"","18S","UNKNOWN","VIC","NFQ-MGB",20.54599952697754,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,16,"","","","","","","","","","","Y","N","N"]
[344,"O8",false,"","18S","UNKNOWN","VIC","NFQ-MGB",20.777000427246094,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,16,"","","","","","","","","","","Y","N","N"]
[357,"O21",false,"","18S","UNKNOWN","VIC","NFQ-MGB",11.345999717712402,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,7,"","","","","","","","","","","Y","N","N"]
[358,"O22",false,"","18S","UNKNOWN","VIC","NFQ-MGB",11.314000129699707,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,7,"","","","","","","","","","","Y","N","N"]
[359,"O23",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.836999893188477,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,11,"","","","","","","","","","","Y","N","N"]
[360,"O24",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.949000358581543,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,11,"","","","","","","","","","","Y","N","N"]
[361,"P1",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.576000213623047,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[362,"P2",false,"","18S","UNKNOWN","VIC","NFQ-MGB",14.187000274658203,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,10,"","","","","","","","","","","Y","N","N"]
[363,"P3",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.488000869750977,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[364,"P4",false,"","18S","UNKNOWN","VIC","NFQ-MGB",17.547000885009766,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,13,"","","","","","","","","","","Y","N","N"]
[365,"P5",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.58300018310547,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,15,"","","","","","","","","","","Y","N","N"]
[366,"P6",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.351999282836914,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[367,"P7",false,"","18S","UNKNOWN","VIC","NFQ-MGB",21.764999389648438,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,17,"","","","","","","","","","","Y","N","N"]
[368,"P8",false,"","18S","UNKNOWN","VIC","NFQ-MGB",21.913000106811523,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,17,"","","","","","","","","","","Y","N","N"]
[381,"P21",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.459999084472656,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[382,"P22",false,"","18S","UNKNOWN","VIC","NFQ-MGB",18.55900001525879,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,14,"","","","","","","","","","","Y","N","N"]
[383,"P23",false,"","18S","UNKNOWN","VIC","NFQ-MGB",22.268999099731445,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,18,"","","","","","","","","","","Y","N","N"]
[384,"P24",false,"","18S","UNKNOWN","VIC","NFQ-MGB",22.138999938964844,17.52373504638672,3.0175907611846924,"","","",false,0.09281,true,3,18,"","","","","","","","","","","Y","N","N"]